{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":13,"n_cols":8,"rows_kept":13,"merged":[[10,0,10,4],[11,5,11,8],[12,9,12,12]],"flags":["formulas_cached_only"]}
["序号","设备名称","设备型号","生产厂家","主要参数","设备性能检测报价（单位：元）","场所防护检测报价（单位：元）","备注"]
[1,"CT机","SOMATOM denfinition AS","德国西门子","140kV    666mA",null,null,"住院部2楼影像科CT检查室"]
[2,"DR机","MRAD-D50 SRADREX","日本东芝","120KV    400mA",null,null,"住院部2楼影像科DR检查室"]
[3,"DR机","YsioMax","德国西门子   ","150KV    800mA",null,null,"发热门诊楼1楼拍片室"]
[4,"移 动DR","uDR370i","上海联影","120KV    400mA",null,null," 发热门诊"]
[5,"体外冲击波碎石机","HK.ESWL-V","深圳市慧康医疗器械有限公司","110KV    5mA",null,null,"住院大楼 一 楼 体外碎石室"]
[6,"医用血管造影X 射线系统 (DSA)","UNIQFD20","飞利浦医疗系统荷兰有限公司","125KV    1000mA",null,null,"住院大楼 一 楼介入手术室"]
[7,"移 动 式C形臂X 射线系统","BV Endura","飞利浦(荷兰)","摄影105KV  30mA         透视110KV  7.2mA",null,null,"住院大楼十楼手术5室"]
[8,"DR  ","Xplorer      1600","IMAGING DYNAMICS COMPANY LTD.","100kV    100mA",null,null,"二 门 诊DR 室"]
[9,"口腔全景机","Planmeca ProMax","芬兰普兰梅卡","100kV    8mA",null,null,"二门诊牙机室"]
["合计（单位：元）"]
[{"$nulls":5},"供应商（加盖公章）："]
[{"$nulls":6},"       年    月     日"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}